## Slide 1: Chemical Engineering Thermodynamics Lecture 7 Refrigeration and Liquefaction Xiaofei Xu

## Slide 2: The Carnot Refrigerator
Reversed Carnot cycle
Coefficient of performance:

## Slide 3: The Ideal Vapor-Compression Refrigeration Cycle
The most widely used cycle for refrigerators and air-conditioning systems

## Slide 4: The Ideal Vapor-Compression Refrigeration Cycle
1-2: Isentropic compression
2-3: Constant-pressure heat rejection in a condenser
3-4: Throttling in an expansion device
4-1: Constant-pressure heat absorption in an evaporator

## Slide 5: The Ideal Vapor-Compression Refrigeration Cycle

## Slide 6: Example

## Slide 7: The Choice of Refrigerant
The COP of Carnot refrigerator is independent of the refrigerant
Irreversibility
Toxicity, flammability, cost, corrosion properties, vapor pressure, environmental concerns

## Slide 8: Absorption Refrigerator
Use a heat source to provide energy needed to drive the cooling process

## Slide 9: The Heat Pump
Move thermal energy in the opposite direction of spontaneous heat transfer.
Refrigerator
Heat Pump

## Slide 10: Example

## Slide 11: Example

## Slide 12: Liquefaction Processes
1: By heat exchange at constant pressure
2: By an expansion process from which work is obtained
3: By a throttling process

## Slide 13: Linde Liquefaction Process

## Slide 14: Claude Liquefaction Process